FACSCanto Training Schedule

Day 1 (95.08.15 星期二) 地點：立夫教學大樓1樓102講堂

| 09:30 ~ 10:30 | Quiz for pre-work |  |
| --- | --- | --- |
|  | Lecture | 實驗設計原理 | Surface marker and intracellular staining、Cytometry beads array |
|  |  | 儀器運作原理 | Fluidic、Optic and Electronic System |
| 10:30 ~ 12:00 | Demo | 儀器大體解說 | Fluidic、Optic and Electronic System |
|  |  | 儀器日常維護 | Start up and shut down procedure、Check and eliminate bubble in filter、Long clean |
|  |  | Diva Software Overview | Browser、Instrument、Inspector、Acquisition control、Instrument status、Worksheet |
|  |  | 儀器設定調整 | Surface marker experiment (FSC vs SSC、Threshold、PMT voltage、Compensation) Cell cycle experiment (PI-A vs PI-W) |
| 12:00 ~ 13:00 | 休息 |  |  |

- 上機學習課程只允許5個實驗室各派1名代表參加，原則上以能獨立操作FACSCalibur或FACScan者為優先，若超過則以抽籤決定，敬請見諒。

- 預計9月份會再辦理1場。

地點：立夫教學大樓7樓貴重儀器中心

| 13:00 ~ 14:30 | Demo | 淋巴球4色染色上機 | Start up Instrument setting optimization：Scatter light、Threshold、Fluorescence background、Compensation adjustment Data acquisition Shut down |
| --- | --- | --- | --- |
| 14:30 ~ 17:00 | Practice | 淋巴球4色染色上機 | Start up Instrument setting optimization：Scatter light、Threshold、Fluorescence background、Compensation adjustment Data acquisition Shut down |

Day 2 (95.08.16 星期三) 地點：立夫教學大樓7樓貴重儀器中心

| 09:00 ~ 10:00 | Demo | DNA cell cycle staining and data analyzing | Start up Instrument setting optimization：Scatter light、Threshold、Fluorescence background、Compensation adjustment Data acquiring and analyzing Shut down |
| --- | --- | --- | --- |
| 10:00 ~ 11:30 | Practice | DNA cell cycle staining and data analyzing | Instrument setting optimization：Scatter light、Threshold、Fluorescence background、Compensation adjustment Data acquiring and analyzing |
| 11:30 ~ 12:00 |  | Q & A |  |